- GENERAL

- SECTION INCLUDES

- Noise-reducing impact insulation systems for Wood Flooring, Laminate, Capet and Tile.

- RELATED SECTIONS

- Section 09 64 00 - Wood Flooring

Section 09 62 19 - Laminate

Section 09 30 00 - Tile Setting

- REFERENCES

- U.S. Department of Housing and Urban Development (HUD): Guide to Airborne, Impact, and Structure Borne Noise Control in Multifamily Dwellings.

- American Society for Testing and Materials (ASTM)

- ASTM D5116 Standard Guide for small-scale environmental chamber determinations of Organic Emissions for Indoor Material/ Products

- ASTM C627 Standard Test Method of Evaluating Ceramic Tile Installation Systems using the Robinson Type Floor Test

- ASTM E1007 Standard Test Method for Field Measurement of Tapping Machine Impact Sound Transmission through Floor-Ceiling assemblies and Associated support structures

- ASTM E2179 Standard Test Method for Laboratory Measurement of the Effectiveness of Floor Coverings in Reducing Impact Sound Transmission through Concrete Floors

- ASTM F1869 Standard Test Method for Measuring Moisture Vapor Emission Rate of Concrete Subfloor Using Anhydrous Calcium Chloride

- Leadership in Energy and Environmental Design -LEED®

- LEED is an internationally recognized green building certification system, providing third-party verification that a building or community was designed and built using strategies aimed at improving performance across all the metrics that matter most: energy savings, water efficiency, CO2 emissions reduction, improved indoor environmental quality, and stewardship of resources and sensitivity to their impacts.

- SYSTEM DESCRIPTION

- Performance Requirements: Provide recycled rubber resilient underlayment padding, which has been manufactured and installed to maintain performance criteria stated by manufacturer without defects, damage or failure.

- SUBMITTALS

- Submit under provisions of Section 01300.

- Product Data:  Manufacturer's data sheets on each product to be used, including:

- Preparation instructions and recommendations.

- Storage and handling requirements and recommendations.

- Installation methods.

- LEED Documentation of how the requirement for credit will be met.

- Selection Samples:  For each finish product specified, two complete sets of color chips representing manufacturer's full range of available colors and patterns.

- Verification Samples:  For each finish product specified, two samples, minimum size 6 inches (150 mm) square, representing actual product, color, and patterns.

- QUALITY ASSURANCE

- Manufacturer Qualifications: The manufacturer shall be a firm with a minimum of two years of successful experience in manufacture of products with similar requirements.

- Installer Qualifications: The installer shall be a firm with a minimum of two years of successful experience in installation of products with similar requirements.

- Mock-Up:  Provide a mock-up for evaluation of surface preparation techniques and application workmanship.

- Finish areas designated by Architect.

- Do not proceed with remaining work until workmanship, color, and sheen are approved by Architect.

- Refinish mock-up area as required to produce acceptable work.

- DELIVERY, STORAGE, AND HANDLING

- Store products in manufacturer's unopened packaging until ready for installation.

- Store and dispose of solvent-based materials, and materials used with solvent-based materials, in accordance with requirements of local authorities having jurisdiction.

- PROJECT CONDITIONS

- Maintain environmental conditions (temperature, humidity, and ventilation) within limits recommended by manufacturer for optimum results.  Do not install products under environmental conditions outside manufacturer's absolute limits.

- PRODUCTS

- MANUFACTURER

- Acceptable Manufacturer:
REGUPOL America
11 Ritter Way
Lebanon, PA 17042
Toll Free Tel: (800) 537-8737
Tel: (717) 675-2198
Fax: (717) 675-2199
Email: bmd@regupol.com
Web: http:// www.Regupol-Acoustics.com.

- Substitutions:  Not permitted.

- Requests for substitutions will be considered in accordance with provisions of Section 01600.

- PRODUCT

- REGUPOL sonus core 3mm Recycled rubber Impact Sound Insulation Manufactured by REGUPOL America

- NOISE-REDUCING IMPACT INSULATION SYSTEM FOR WOOD FLOORING, LAMINATE, CARPET, CERAMIC TILE FLOORING

- Acceptable Product: REGUPOL® sonus™ 2mm Rubber

- Physical Characteristics:

- Made from 100% recycled SBR (Styrene-Butadiene Rubber) tire rubber.

- 2mm thick

- 48 inches by 50 ft rolls.

- Material Weight 1/3 lb/ft²

- EXECUTION

- EXAMINATION

- Do not begin installation until substrates have been properly prepared.

- If substrate preparation is the responsibility of another installer, notify Architect of unsatisfactory preparation before proceeding.

- PREPARATION

- Clean surfaces thoroughly prior to installation.

- Prepare surfaces using the methods recommended by the manufacturer for achieving the best result for the substrate under the project conditions.

- INSTALLATION

- Install in accordance with manufacturer's instructions.

- PROTECTION

- Protect installed products until completion of project.

- Touch-up, repair or replace damaged products before Substantial Completion.

END OF SECTION